## Slide 1: Microscopic Methods for Chemists – with an emphasis on SEM
Charge Transfer Processes in Hydrodynamic systems
Martin Jönsson-Niedziółka martinj@ichf.edu.pl twitter: @DrMartinJN

## Slide 2
The story so far …
Optics
Ray – Waves - Particles
(geometrical optics) (physical optics)
Reflection
Refraction
Diffraction
Interference
Polarisation
magnification ≠ resolution
Numerical Aperture (NA):
Abbe equation
From this…
Polarizers [Reflective/Dichroic/Birefringent]
Unpolarized light p- and s-polarized light
Ideal linear polarizer I=I/2 (just p- or s-polarized light)
Notes: Somewhat chaotic introduction to some concepts of optics.

## Slide 3
Components of an Optical Microscope
http://zeiss-campus.magnet.fsu.edu/index.html
https://myscope.training/LFM_simulator.html
… to this!

## Slide 4
Components of an Optical Microscope
http://zeiss-campus.magnet.fsu.edu/index.html
https://myscope.training/LFM_simulator.html

## Slide 5
Components of an Optical Microscope
Apochromatic Achromatic
http://zeiss-campus.magnet.fsu.edu/index.html
https://myscope.training/LFM_simulator.html

## Slide 6
Components of an Optical Microscope
Brightfield illumination – “standard” techniques; contrast by variation in absorption or refraction of light
Darkfield illumination – diffracted or refracted light
Differential interference contrast (DIC) – plane-polarized light; varying refractive indices can be distinguished by interference (also known as Nomarski microscopy)
Hoffman modulation –phase shifts; similar to DIC, but without the use of polarized light
Polarized light – plane-polarized light; variation in the polarization plane is detected by birefringence
Phase contrast – phase shift for materials with varying refractive indices
http://zeiss-campus.magnet.fsu.edu/index.html
https://myscope.training/LFM_simulator.html

## Slide 7
Dark Field Microscopy
By Richard Wheeler (Zephyris) 2006, CC-By 3.0
Increasing contrast by removing background illumination.

## Slide 8
Phase Contrast Microscopy
Nobel Prize in Chemistry 1953
for his demonstration of the phase contrast method, especially for his invention of the phase contrast microscope.
Frits Zernike
1888-1966
Bright-field
Phase contrast
Interference between unscattered and scattered light is detected
Increased intensity when unscattered light has a phase shift of π/2

## Slide 9
Living cells
imaged in different modes
https://andor.oxinst.com/learning/
https://www.olympus-lifescience.com/
Sample orientation towards shear axis is crucial !!!
90 °
Shear axis
= orientation of the prism
Differential Interference Contrast (DIC)

## Slide 10
BF DF DIC

## Slide 11
Polarized Light Microscopy
www.thorlabs.com
www.microscopyu.com/techniques/polarized-light/polarized-light-microscopy
two polarizing filters before/after the sample

## Slide 12
Widefield vs. Confocal
Microscopy
https://andor.oxinst.com/learning/
The confocal setup increases resolution a little
Out of focus light is filtered enhanced contrast

## Slide 13
Fluorescence Microscopy
http://zeiss-campus.magnet.fsu.edu/index.html
https://vip.wartburg.edu/

## Slide 14
Examples of Fluorescence Microscopy
HeLa Cell Mitochondria
https://www.microscopyu.com/gallery-images/
Human Lung Carcinoma Cells
Ameloot et al. Angew. Chem. Int. Ed. 2013, 52, 401 –405.
Defects in MOFs
SEM

## Slide 15
Ameloot et al. Angew. Chem. Int. Ed. 2013, 52, 401 –405.
Examples of Fluorescence Microscopy
SEM
Confocal fluorescence imaging of defects in a MOF-5 single
crystal. The red arrows indicate a line defect.
Confocal fluorescence images of HKUST-1 single crystals
demonstrating the introduction of defects upon extending crystallization time.
Defects in MOFs

## Slide 16
Contact:
Martin Jönsson-Niedziółka
email: martinj@ichf.edu.pl
Twitter: @DrMartinJN